## Sheet1
INVENTORY AS OF 2/26/2021
Type | Item# | Description | # | Additional Notes
MCU | ATMEGA8U2-MURCT-ND | QFN package mcu | 1 | newest mcu ordered | ***
| 556-ATMEGA32U4-AU | 32kb flash avr mcu | 2 | PCBs designed for this
| A000053 | Arduino Micro | 1 | prototype board | ???
PCB | FEMAVitalsMonitor | Non-flexible | 3 | -
| FEMAVitalsMonitor | Flexible | 3 | -
| ImpedancePulseOximeter | Non-flexible | 3 | -
| ImpedancePulseOximeter | Flexible | 3 | -
| BodyTempSensor | Non-flexible | 3 | -
| BodyTempSensor | Flexible | 2 | -
LoRa | 474-Com-13909 | LoRa Radio Wireless Transceiver | 3 | RF Modules RFM69HCW Wireless Transceiver - 915MHz
Resistors | 667-ERA-6AED1471V | 0805 1.47k ohm resistor | 5
| 667-ERJ-6RBD5101V | 0805 5.1k ohm resistor | 5
| 71-RCS080522R0FKEA | 0805 22 ohm resistor | 5
| 667-ERA-6VEB1001V | 0805 1k ohm resistor | 10
| 652-CMP0805AFX-1002L | 10k ohm resistor | 10
| 660-HV732ATTD754J | 750k ohm resistor | 5
| 660-RK73H2ATTD1003D | 100k ohm resistor | 20
| 603-RT0805FRE134K7L | 4.7k ohm resistor | 20
| 660-RS73G2ATTD4992F | 49.9k ohm resistor | 10
| 71-RCS0805300RJNEA | 300 ohm resistor | 5
| 667-ERJ-12SF20R0U | 2010 20 ohm resistor | 5
| 660-RN73R2ATD2002B25 | 20k ohm resistor | 5
Capacitors | 963-UMF212B7105KGHT | 0805 1uF capacitor | 15
| 80-C0805C226K7PACTU | 0805 22uF capacitor | 5
| 963-HMF212B7473KGHT | 0805 47nF capacitor | 5
| 963-UMF212B7104KGHT | 0805 0.1uF capacitor | 30
| 963-JMF212AB7106KGHT | 0805 10uF capacitor | 20
| 810-FA16C0G2A104JRU6 | 0.1uF capacitor | 0 | empty bag
Inductors | 810-KLZ2012AHR2R2WTD | 2.2uH 10MHz 20% inductor | 4
| 81-LQM21DH220M70L | 22uH 220mA inductor | 4
Pulse Oximeter | SEN - 15219 | SparkFun Pulse Oximeter + HRS | 1 | contains max30101 & max32664 | ***
| MAX32664GTGB+ | MAX30101 Hub | 2 | chip alone
| 700-MAX30101EFD+ | Pulse Oximeter | 2 | EFD+ package
| MAX32664GTGA+ | MAX30101 Hub | 2 | chip alone | ***
| MAX30101EFD+TCT-ND | Integrated optical sensor | 1
Diodes & Rectifiers | 833-SM5817PL-TP | Diode | 5 | Standard 20V 1A
| 863-MBR120LSFT3G | Diode | 5 | 20V 1A
GPS | neo-m8n-0-10 | NEO-M8 series gps module | 1 |  | ***
| 619-28504 | Parallax GPS modules | 1
Other | B00CHTO7EC | Tactile switches | 15 |  | ????
| 579-MCP73831T-2ACIOT | Battery Management | 4
| 584-AD8606ARMZ-R | AD8606 Op Amp | 4
| 604-APTD2012LSURCK | 0805 Dome Lens LED | 5
| 621-PAM2401SCADJ | Voltage regulator | 4 | 1.0MHz Step-Up
| 630-HSMC-C170-T0000 | Top Mt Red LED | 4
| 611-SK50JSMTR92LFS | Tactile switches | 4
| 712-CONUFL001-SMD-T | uFI Connector | 5
| 815-ABS07W32.768KD1T | 32.768kHz 3pF crystal oscillator | 4
| X000S3Z0SH | Electrode Pads | 9 | 4 2" x 2" connected pads w/ sensor strings
| 579-24AA32AT-I/SN | EEPROM | 4 | memory
| 926-LP5951MG18NOPB | Voltage regulator | 4 | 150mA TI LDO
| 490-UJC-HP-G-SMT-TR | USB Connectors | 4 | CUI Devices
| 262-BME280 | BME280 | 5 | Microchip temperature sensor
| 604-APTR3216SECK | Orange LED | 4 | Orange water clear
| C845-001 P758 | Jumper Cables | 12 | prototype
| X000ZNOCW5 | 3.5mm plug | 1 | tens replacement
| X001KGGWZ1 | M5Stack ESP32 development kit | 1 | 4615045 for prototyping
Analog Devices Inc. | AD5933YRSZ-REEL7CT-ND | impedance analyzer | 1 | 2 listed, 1 found in bag
| 584-ADG849YKSZ-R7 | analogue switches | 5
| 584-5933WYRSZR | data acquisition ADCs/DACs | 2
Link: https://www.shieldextrading.net/products/yarns-threads/
Textiles | 200151011034HC | Conductive Twisted Yarn | 1 | 110/34 dtex 2 ply HC LR: < 3,000 ohm/m
| 2601151022113 | Conductive Twisted Yarn | 1 | 22/1 dtex + 113/32 PET Ag Nylon + PET LR: < 30,000 ohm/m
| 261151044113 | Conductive Twisted Yarn | 1 | 44/12 dtex + 113/32 PET Ag Nylon + PET LR: < 30,000 ohm/m
| 20012107818 | Conductive Twisted Yarn | 1 | 78/18 dtex Zturns Ag Nylon LR: < 25,000 ohm/m
| 200121235364HCB | Conductive Twisted Yarn | 1 | 235/36 dtex 4 ply HCB
| 260151022110 | Conductive Twisted Yarn | 1 | 22/7 dtex + 110 PET 3 ply Ag Nylon + PET LR: < 200,000 kohm/m
| 260121011717 | Conductive Twisted Yarn | 1 | 117/17 dtex 2 ply +B LR: < 3,000 ohm/m
| 20012104412 | Conductive Twisted Yarn | 1 | 44/12 dtex Zturns Ag Nylon LR: < 10,000 ohm/m